## TABLEAU
Date / Datum : 22/04/2022 |  | Produits Mobiles et Non Mobiles / Mobile toestellen en Niet-mobiele |  |  |  |  | Equipements Uitrusting |  | Technologies Technologieën |  |  | Technologies avec dérogation Technologieën met een uitzondering |  |  |  | CADR (m³/h) - dB (A)
Nom du responsable de la mise sur le marché / Naam van de persoon die verantwoordelijk is voor het op de markt brengen | Nom du produit commercial / Productnaam | Produits mobiles de purification d'air Mobiele luchtzuiveringssystemen AM_MB 12/5/2021 (art. 4) |  |  |  | Produits non mobiles de purification d'air Niet-mobiele luchtzuiveringssystemen AM_MB 12/5/2021 (art. 3) | Voorfilter-préfiltre | Actieve koolstof / Charbon Actif | HEPA-filter H14 -H13 EPA-filter 12 /Filtres HEPA H14-H13 EPA 12 | UVC / UV-C | Elektrostatische precipitator / Précipitateur électrostatique | Ionisator / Ionisateur | Fotokatalyse / Photocatalyse (TiO2) | Ozon /Ozone | Koude plasma / Plasma froid | MIN Position 1 Stand 1 |  |  | MAX |  |  | Position 2 Stand 2 |  |  | Position 3 Stand 3 |  |  | Position 4 Stand 4 |  |  | Position 5 Stand 5 |  |  | Position 6 Stand 6 |  |  | Position 7 Stand 7 |  |  | Position 8 Stand 8 |  |  | Position 9 Stand 9
|  | Appareils mobiles avec ventilateur Mobile toestellen met ventilator | Appareils mobiles sans ventilateur Mobile toestellen zonder ventilator
|  |  | Surface de la piéce recomandée par le fabricant (m2) / Ruimteoppervlak aanbevolen door de fabrikant (m2) | Volume de la piéce recomandée par le fabricant (m3) / Ruimtevolume aanbevolen door de fabrikant (m3) | eqCADR
[16 empty] | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A) | Designation / Benaming | m³/h | dB (A)
3D Pure SRL | Neffes (NFS - 1000) | [5 empty] | √ | √ | H13 | √ | [5 empty] | Minimum | 185 | ND | Maximum | 910 | ND
3D Pure SRL | Neffes (NFS - 400) | [5 empty] | √ | √ | H13 | √ | [5 empty] | Minimum | 70 | ND | Maximum | 380 | ND
ABN | Steripico | √ |  |  |  |  | √ |  | H14 | [6 empty] | Low | 150 | ND | Extrem | 600 | ND | Medium | 300 | ND | High | 450 | ND | Extrem | 600 | ND
Acco Brands | Leitz TruSens Z-3000 | √ |  |  |  |  | √ | √ | H13 | √ | [5 empty] | Whisper | 58 | 32 | Turbo | 325 | 66 | Speed 1 | 104 | 42 | Speed 2 | 164 | 49 | Speed 3 | 236 | 57
AED Distribution NV | Luxibel B Air V2 | √ | [7 empty] | √ | [8 empty] | Standard | 31.2 | 48
Aeris Cleantec | Aeris Aair Medical Pro | √ |  |  |  |  | √ |  | H14 | [6 empty] | Sleep Modus | 60 | 35 | High | 400 | 65
Aeris Cleantec | Aeris Lite | √ |  |  |  |  | √ |  | H13 | [6 empty] | Sleep Modus | 35 | 35 | High | 315 | 55
Aeris Cleantec | Aeris MICU (Medical Infection Control Unit) | √ |  |  |  |  | √ | √ | H14 | [6 empty] | Sleep Modus | 59 | 35 | High | 440 | 65
Aeris Cleantec | Aeris Aair PRO 3-in-1 | √ |  |  |  |  | √ | √ | H13 | [6 empty] | Sleep Modus | 80 | 35 | High | 600 | 65
Aeropure - PROFILAN | IQAir Health Pro 100 | √ |  |  |  |  | √ |  | H13 | [6 empty] | Speed: 1 | 50 | 22 | Speed: 6 | 470 | 56 | Speed: 2 | 100 | 31 | Speed: 3 | 170 | 39 | Speed: 4 | 240 | 44 | Speed: 5 | 330 | 50 | Speed: 6 | 470 | 56
Aeropure - PROFILAN | IQAir Health Pro 250 | √ |  |  |  |  | √ | √ | H13 | [6 empty] | Speed: 1 | 50 | 22 | Speed: 6 | 440 | 56 | Speed: 2 | 100 | 31 | Speed: 3 | 170 | 39 | Speed: 4 | 240 | 44 | Speed: 5 | 310 | 50 | Speed: 6 | 440 | 56
aiR & M's bv | Envirotect Clean Air 704EC(L) black | √ |  |  |  |  | √ | √ | H13 | √ |  | √ |  |  |  | Sleep Mode | 160 | 20.6 | Turbo Mode | 400 | 49.7 | Weak mode |  | 24.4 | Medium mode |  | 30.4 | Strong mode |  | 41.8 | Turbo mode | 400 | 49.7
aiR & M's bv | Envirotect Monarch Clean Air 704EC(S) white | √ |  |  |  |  | √ | √ | H13 | √ |  | √ |  |  |  | Sleep Mode | 160 | 20.6 | Turbo Mode | 400 | 49.7 | Weak mode |  | 24.4 | Medium mode |  | 30.4 | Strong mode |  | 41.8 | Turbo mode | 400 | 49.7
Air8 Tech International SL | Air8 280 NANO | √ |  |  |  |  | √ | √ | H13 | √ |  | √ |  |  |  | Slowest speed | 120 | 34 | Speed 4 | 280 | 48 | Speed 2 | 170 | 42 | Speed 3 | 240 | 46 | Speed 4 | 280 | 48
Air8 Tech International SL | Air8 1200i PRO H13 | √ |  |  |  |  | √ | √ | H14 | √ |  | √ |  |  |  | Slowest speed | 614 | 35.6 | Highest speed / Speed 3 | 1200 | 51.7 | Middle speed | 834 | 42.6 | Speed 3 | 1200 | 51.7
Air8 Tech International SL | Air8 1200i PRO H14 | √ |  |  |  |  | √ | √ | H13 | √ |  | √ |  |  |  | Slowest speed | 460 | 35.6 | Highest speed / Speed 3 | 900 | 51.7 | Middle speed | 625 | 42.6 | Speed 3 | 900 | 51.7
Air8 Tech International SL | Air8 260i NANO | √ |  |  |  |  | √ | √ | H13 | √ |  | √ |  |  |  | Slowest speed | 120 | 34 | Highest speed / Speed 3 | 260 | 51 | Middle speed | 210 | 47 | Speed 3 | 260 | 51
Air8 Tech International SL | Air8 720i EDGE | √ |  |  |  |  | √ | √ | H13 |  |  |  | √ |  |  | Slowest speed | 215 | 30.6 | Fast Purity Mode / Speed 5 | 720 | 57.3 | Speed 2 | 290 | 37.7 | Speed 3 | 563 | 52 | Speed 4 | 720 | 59 | Speed 5 | 720 | 57.3
Airdog Benelux | Airdog TPA V5 | √ | [8 empty] | √ | √ | [6 empty] | Maximum | 15 | 30
Airdog Benelux | Airdog TPA X3 | √ |  |  |  |  | √ | √ |  |  | √ | √ |  |  |  | L1 | 95 | 37 | Maximum | 233 | 58 | L2 | 115 | 42 | L3 | 150 | 51 | L4 | 233 | 58
Airdog Benelux | Airdog TPA X5 | √ |  |  |  |  | √ | √ |  |  | √ | √ |  |  |  | L1 | 158 | 41 | Maximum | 373 | 63 | L2 | 190 | 46 | L3 | 235 | 53 | L4 | 373 | 63
Airdog Benelux | Airdog TPA X8 | √ |  |  |  |  | √ | √ |  |  | √ | √ |  |  |  | L1 | 518 | 39 | Maximum | 1386 | 62 | L2 | 1052 | 56 | L3 | 1188 | 60 | L4 | 1289 | 61 | L5 | 1386 | 62
AirExchange | AirExchange 600-T Black / White | √ |  |  |  |  | √ | √ | H14 | √ |  |  | √ |  |  | Smart-modus | 250 | 21 | Wind speed 4 (Max) | 600 | 68 | Wind Speed 2 (Medium) | 350 | 29 | Wind Speed 3 (High) | 450 | 35 | Wind Speed 4 (Max) | 600 | 68
AirExchange | AirExchange 750-T Black / Antraciet | √ |  |  |  |  | √ | √ | H14 | √ |  |  | √ |  |  | Smart-modus | 300 | 22 | Wind speed 4 (Max) | 750 | 70 | Wind Speed 2 (Medium) | 400 | 29 | Wind Speed 3 (High) | 550 | 35 | Wind Speed 4 (Max) | 750 | 70
AirExchange | AirExchange 1500-T | √ |  |  |  |  | √ | √ | H14 | √ |  |  | √ |  |  | Smart-modus | 550 | 20 | Wind speed 5 | 1500 | 42 | Wind speed 2 | 750 | 26 | Wind speed 3 | 1000 | 30 | Wind speed 4 | 1180 | 34 | Wind speed 5 | 1500 | 42
AirForUs bv | YAWI YMB1 | √ |  |  |  |  | √ | √ | H13 | √ |  | √ |  |  |  | Stand / Position 1 | 151.5 | 31.1 | Stand / Position 4 | 400 | 55 | Stand / Position 2 | 233 | 40.6 | Stand / Position 3 | 311 | 49 | Stand / Position 4 | 400 | 55
AirForUs bv | YAWI YMB1+ | √ |  |  |  |  | √ | √ | H14 | √ |  | √ |  |  |  | Stand / Position 1 | 128.7 | 31.1 | Stand / Position 4 | 340 | 55 | Stand / Position 2 | 198 | 40.6 | Stand / Position 3 | 264 | 49 | Stand / Position 4 | 340 | 55
AirForUs bv | YAWI YMB2 | √ |  |  |  |  | √ | √ | H13 | √ |  | √ |  |  |  | Stand / Position 1 | 195 | 37.1 | Stand / Position 5 | 680 | 58 | Stand / Position 2 | 306 | 42.6 | Stand / Position 3 | 462 | 50 | Stand / Position 4 | 562 | 53 | Stand / Position 5 | 680 | 58
AirForUs bv | YAWI YMB2+ | √ |  |  |  |  | √ | √ | H14 | √ |  | √ |  |  |  | Stand / Position 1 | 185 | 37.1 | Stand / Position 5 | 640 | 58 | Stand / Position 2 | 290 | 42.6 | Stand / Position 3 | 438 | 50 | Stand / Position 4 | 530 | 53 | Stand / Position 5 | 640 | 58
AirForUs bv | YAWI YMP1 | √ |  |  |  |  | √ | √ | H13 | √ |  | √ |  |  |  | Stand / Position 1 | 134 | 26.1 | Stand / Position 5 | 830 | 56.5 | Stand / Position 2 | 343 | 36.3 | Stand / Position 3 | 416 | 41.9 | Stand / Position 4 | 511 | 45.6 | Stand / Position 5 | 830 | 56.5
AirForUs bv | YAWI YMP1+ | √ |  |  |  |  | √ | √ | H14 | √ |  | √ |  |  |  | Stand / Position 1 | 113.9 | 26.1 | Stand / Position 5 | 720 | 56.5 | Stand / Position 2 | 292 | 36.3 | Stand / Position 3 | 353 | 41.9 | Stand / Position 4 | 434 | 45.6 | Stand / Position 5 | 720 | 56.5
AirSecure (TRC) | Sanuvox - BioWall |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 2000 | ND | Maximum | 29726 | ND
AirSecure (TRC) | Sanuvox-Quattro |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 500 | ND | Maximum | 3585 | ND
AirSecure (TRC) | Sanuvox-BiostAir85 (P900) | √ | [7 empty] | √ | [5 empty] | Vitesse 1 | 68 | 37 | Vitesse 9 | 128 | 57 | Vitesse 2 | 75.5 | 39.5 | Vitesse 3 | 83 | 42 | Vitesse 4 | 90.5 | 44.5 | Vitesse 5 | 98 | 47 | Vitesse 6 | 105.5 | 49.5 | Vitesse 7 | 113 | 52 | Vitesse 8 | 120.5 | 54.5 | Vitesse 9 | 128 | 57
AirSecure (TRC) | Sanuvox-SanuvAir 45 (S100) |  |  |  |  | √ |  |  |  | √ | [8 empty] | Hi | 100 | 35
Airvia Medical | Aero 100 | √ | [5 empty] | √ | H13 | √ |  |  | √ |  |  | Vitesse 1 | 60 | 30 | Vitesse 5 | 503 | 68
Airvia Medical | Airvia CAR | √ | [5 empty] | √ | H13 | √ |  |  | √ |  |  | Vitesse 1 | 15 | 20 | Vitesse 3 | 45 | 50
Airvia Medical | PRO 150 | √ | [5 empty] | √ | H13 | √ |  |  | √ |  |  | Vitesse 1 | 90 | 30 | Vitesse 5 | 550 | 68
AJ-Air SRL | Roger Little | [7 empty] | H14 | [9 empty] | Maximum | 231 | ND
AJ-Air SRL | Roger | [7 empty] | H14 | [9 empty] | Maximum | 465 | ND
AJ-Air SRL | Roger Big | [7 empty] | H14 | [9 empty] | Maximum | 736 | ND
AlfaTec Med Care srl | Cloud Air | √ | [7 empty] | √ | [5 empty] | Minimum | 150 | ND | Maximum | 2000 | ND
Alpha-HealthCare SRL | Eolis Air Manager 600 Nateosante | √ |  |  |  |  | √ | √ | H13 | √ | [5 empty] | Minimum | 80 | 18 | Maximum | 350 | 58
Alpha-HealthCare SRL | Eolis Air Manager 600S Nateosante | √ |  |  |  |  | √ | √ | H13 | √ | [5 empty] | Minimum | 80 | 18 | Maximum | 350 | 58
Alpha-HealthCare SRL | Eolis Air Manager 1200 Nateosante | √ |  |  |  |  | √ | √ | H13 | √ | [5 empty] | Minimum | 120 | 18 | Maximum | 550 | 57
Alpha-HealthCare SRL | Eolis Air Manager 1200S Nateosante | √ |  |  |  |  | √ | √ | H13 | √ | [5 empty] | Minimum | 120 | 18 | Maximum | 550 | 57
Analis SA | Novaerus 1050 (Defend 1050) | [13 empty] | √ |  |  |  | Maximum | 755 | ND
Analis SA | Novaerus 800/900 (Protect 800/900) | [13 empty] | √ |  |  |  | Maximum | 84 | ND
Analis SA | Novaerus 200 | [12 empty] | √ | √ |  |  |  | Maximum | 80 | ND
Aqua Brio SRL / GDA Systems SRL | Brio Air Systems 50EC |  |  |  |  | √ |  |  |  | √ | [8 empty] | Maximum | 50 | ND
Aqua Brio SRL / GDA Systems SRL | Brio Air Systems 100EC |  |  |  |  | √ |  |  |  | √ | [8 empty] | Maximum | 99 | ND
Aqua Brio SRL / GDA Systems SRL | Brio Air Systems 150EC |  |  |  |  | √ |  |  |  | √ | [8 empty] | Maximum | 150 | ND
Aqua Brio SRL / GDA Systems SRL | Brio Air Systems 200EC |  |  |  |  | √ |  |  |  | √ | [8 empty] | Maximum | 198 | ND
Asismedi Beghelli | SanificaAria 200 connect | [8 empty] | √ | [8 empty] | Maximum | 200 | ND
Astbelgium | Deconta R-150 |  | 150 | 375 | 1010 |  | √ | √ | H14 | [6 empty] | Minimum | 65 | 32 | Maximum | 1010 | 57
Astbelgium | Deconta R-300 |  | 250 | 625 | 1560 |  | √ | √ | H14 | [6 empty] | Minimum | 120 | 34 | Maximum | 1560 | 58
Astbelgium | Deconta R-500 | √ |  |  |  |  | √ | √ | H14 | [6 empty] | Minimum | 150 | 34 | Maximum | 5000 | 62
Astbelgium | Deconta R mini |  | 110 | 275 | 631 |  | √ |  | H14 | [6 empty] | Minimum | 128 | 37 | Maximum | 631 | 57
ATC Air Trade Centre | ATC AirPure-500 | √ |  |  |  |  | √ | √ | H13-H14 | √ | [5 empty] | Low | 50 | 39 | High | 500 | 57
ATC Air Trade Centre | ATC AirPure-1000 | √ |  |  |  |  | √ | √ | H13-H14 | √ | [5 empty] | Low | 100 | 41 | High | 1000 | 59
ATC Air Trade Centre | ATC AirPure-1500 | √ |  |  |  |  | √ | √ | H13-H14 | √ | [5 empty] | Low | 150 | 43 | High | 1500 | 62
ATC Air Trade Centre | ATC AirPure-3000 | √ |  |  |  |  | √ | √ | H13-H14 | √ | [5 empty] | Low | 300 | 46 | High | 3000 | 67
ATC Air Trade Centre | ATC AirPure-4500 | √ |  |  |  |  | √ | √ | H13-H14 | √ | [5 empty] | Low | 450 | 46 | High | 4500 | 72
Azelies | Certif R1500 | √ |  |  |  |  | √ | √ | H14 | √ | [5 empty] | 10% de sa puissance (appareil réglable de 0 à 100%) | 155 | 40 | 100% | 1550 | 52 | 20% | 310 | 45 | 30% | 465 | 49 | 40% | 600 | 49 | 50% | 775 | 49 | 60% | 930 | 49 | 70% | 1085 | 49 | 80% | 1240 | 56 | 90% | 1395 | 56
Azelies | Certif R5000 | √ |  |  |  |  | √ | √ | H14 | √ | [5 empty] | 10% de sa puissance (appareil réglable de 0 à 100%) | 500 | 30 | 100% | 5000 | 62 | 20% | 1000 | 33 | 30% | 1500 | 36 | 40% | 2000 | 43 | 50% | 2500 | 47 | 60% | 3000 | 47 | 70% | 3500 | 57 | 80% | 4000 | 57 | 90% | 4500 | 62
Azelies | Certif R700 | √ |  |  |  |  | √ |  | H14 | [6 empty] | 10% de sa puissance (appareil réglable de 0 à 100%) | 70 | 25 | 100% | 700 | 62 | 20% | 140 | 30 | 30% | 210 | 35 | 40% | 280 | 42 | 50% | 350 | 48 | 60% | 420 | 50 | 70% | 490 | 55 | 80% | 560 | 56 | 90% | 630 | 60
Azelies | Certif R1000 | √ |  |  |  |  | √ |  | H14 | √ | [5 empty] | 10% | 106 | 27 | 100% | 1000 | 53 | 20% | 212 | 34 | 30% | 318 | 37 | 40% | 400 | 41 | 50% | 531 | 46 | 60% | 637 | 50 | 70% | 743 | 52 | 80% | 849 | 53 | 90% | 955 | 53
Belgium Invest Holding SRL | Wellisair | √ |  |  |  | √ | [5 empty] | √ |  |  |  | Veille | 1000 | 20 | Normale | 150000 | 30
BEPA SA | Woods AL310 | √ | [5 empty] | √ |  |  | √ |  |  |  |  | Stepless/Modulant | 75 | 27 | Maximum | 300 | 55 | Stepless/Modulant | ND | ND
BEPA SA | Wood's GRAN900 | √ | [5 empty] | √ |  |  | √ |  |  |  |  | "1" | 200 | 34 | Maximum | 900 | 65 | "2" | 400 | 52 | "3" | 750 | 57
BEPA SA | Wood's AL310 FC | √ | [5 empty] | √ |  |  | √ |  |  |  |  | Stepless/Modulant | 75 | 27 | Maximum | 300 | 55 | Stepless/Modulant | ND | ND
BEPA SA | Argoclima Pury Plus UVC | √ |  |  |  |  | √ |  | H13 | √ | [5 empty] | Low "¦" | ND | 30 | Turbo "¦¦¦¦" | 200 | 55 | Medium "¦¦" | ND | 40 | High "¦¦¦" | ND | 46
Bertronic | Vairus | [5 empty] | √ |  |  | √ | [8 empty] | Maximum | 270 | ND
Biozone | CoilCare X (CCX) |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 1000 | ND | Maximum | 150000 | ND
Biozone | Aircare (ceiling) |  |  |  |  | √ |  |  |  | √ |  | √ | √ | [5 empty] | Maximum | 13 | ND
Biozone | BioZone PR | √ | [7 empty] | √ |  | √ | √ | [5 empty] | Maximum | 16 | ND
Biozone | CCX (pour HVAC) CCX (voor HVAC) |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 1000 | ND | Maximum | 150000 | ND
Biozone | CCX-ASD (pour HVAC) CCX-ASD (voor HVAC) |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 1001 | ND | Maximum | 150000 | ND
Camfil | City M | √ | [6 empty] | H14 | [6 empty] | Réglage 1 | 37 | 16 | Réglage 6 | 433 | 53 | Réglage 2 | 67 | 16 | Réglage 3 | 94 | 16 | Réglage 4 | 127 | 22 | Réglage 5 | 251 | 38
Camfil | City S | √ | [6 empty] | H13 | [6 empty] | Réglage 1 | 21 | 20.7 | Réglage 6 | 247 | 51.9 | Réglage 2 | 47 | 28.3 | Réglage 3 | 82 | 35.8 | Réglage 4 | 119 | 40.2 | Réglage 5 | 183 | 44.9
Camfil | Camcleaner CC800 | √ | [6 empty] | H13 | [6 empty] | Réglage 1 | 180 | 30 | Réglage 6 | 720 | 56 | Réglage 2 | 250 | 33 | Réglage 3 | 300 | 34 | Réglage 4 | 347 | 35 | Réglage 5 | 520 | 46
Camfil | Camcleaner CC6000 | √ |  |  |  |  | √ |  | H13 | [6 empty] | Réglage 1 | 1000 | 43 | Réglage 6 | 6000 | 67 | Réglage 2 | 2000 | 47 | Réglage 3 | 3000 | 52 | Réglage 4 | 4000 | 56 | Réglage 5 | 5000 | 62
Camfil | Camcleaner CC2000 | √ |  |  |  |  | √ |  | H13 | [6 empty] | Réglage 1 | 340 | 30 | Réglage 6 | 1411 | 68 | Réglage 2 | 408 | 35 | Réglage 3 | 760 | 39 | Réglage 4 | 1100 | 42 | Réglage 5 | 1225 | 49
Camfil | Camcleaner CC400 |  |  |  |  | √ | √ |  | H13 | [6 empty] | Réglage 1 | 125 | 38 | Réglage 5 | 250 | 53 | Réglage 2 | 380 | 62 | Réglage 3 | 300 | 34 | Réglage 4 | 500 | 66
Carrier | CleanLine 1000 | [7 empty] | H13-H14 | [9 empty] | Maximum | 970 | ND
Carrier | CleanLine 1800 | [7 empty] | H13-H14 | [9 empty] | Maximum | 1746 | ND
Carrier | CleanLine 2500 | [7 empty] | H13-H14 | [9 empty] | Maximum | 2425 | ND
Carrier | OPTICLEAN 39UV10 | [7 empty] | H13-H14 | [9 empty] | Maximum | 970 | ND
Carrier | OPTICLEAN 39UV18 | [7 empty] | H13-H14 | [9 empty] | Maximum | 970 | ND
Carrier | OPTICLEAN 39UV25 | [7 empty] | H13-H14 | [9 empty] | Maximum | 970 | ND
Clima Construct Helios | Helios Airpal 1750H |  |  |  |  | √ | √ |  | H13-H14 | [6 empty] | laag | 300 | 22 | hoog | 1750 | 57 | medium | 850 | 44
Clima Construct Helios | Helios Airpal 300H | √ |  |  |  |  | √ |  | H13-H14 | [6 empty] | laag | 100 | 46 | hoog | 300 | 54 | medium | 150 | 48
Clima Construct Helios | Helios Airpal 600H | √ |  |  |  |  | √ |  | H13-H14 | [6 empty] | laag | 150 | 40 | hoog | 600 | 61 | medium | 300 | 51
Clima Construct Helios | Helios Airpal 650H | √ |  |  |  |  | √ |  | H13-H14 | [6 empty] | laag | 100 | 27 | hoog | 650 | 61 | medium | 300 | 48
Clima Construct Helios | Helios Airpal 850H | √ |  |  |  |  | √ |  | H13-H14 | [6 empty] | laag | 150 | 26 | hoog | 850 | 58 | medium | 490 | 45
Clima Construct Helios | Helios Airpal 2200H |  |  |  |  | √ | √ |  | H13-H14 | [6 empty] | laag | 370 | 23 | hoog | 2200 | 60 | medium | 1100 | 44
Clima Construct Helios | Clima BPS Bioxigen |  |  |  |  | √ |  | √ |  | √ | [5 empty] | Minimum | 200 | ND | Maximum | 5000 | ND
Comdis Europe | Purify X2-600 |  |  |  |  | √ |  |  |  | √ | [8 empty] | Maximum | 122 | 55
Comdis Europe bv | Purify X2-300 |  |  |  |  | √ |  |  |  | √ | [8 empty] | Maximum | 90 | 55
Daikin Belux NV | Astropure 2000 | [7 empty] | H14 | [9 empty] | Maximum | 2000 | ND
Daikin Belux NV | MC55WVM | [9 empty] | √ | √ |  |  | √ |  |  |  | Maximum | 298 | ND
Daikin Belux NV | MCK55WVM | [9 empty] | √ |  |  | √ | √ |  |  |  | Maximum | 301 | ND
DCP Air | Airprotecting TW220-X | [8 empty] | √ | [8 empty] | Maximum | 220 | ND
DCP Air | Airprotecting CW110-X | [8 empty] | √ | [8 empty] | Maximum | 125 | ND
DCP Air | Airprotecting AW48-X | [8 empty] | √ | [8 empty] | Maximum | 43 | ND
DCP Air | Airprotecting 50 PMX2A48 | [8 empty] | √ | [8 empty] | Maximum | 43 | ND
Deltrian International | DetriAir |  | 17 | 45 | 179 | √ |  |  |  | √ | [5 empty] | Sleep Mode | 60 | 10 | HIGH | 179 | 30 | Stand / Position 2 | 120 | 20
Deltrian International | DeltriPure 1750 | [7 empty] | H13 | [9 empty] | Maximum | 1750 | ND
Deltrian International | cPure | [7 empty] | H13 | [9 empty] | Maximum | 1999 | ND
Deltrian International | DeltriPure 650 |  | 60 | 160 | 650 |  |  |  | H13-H14 | [6 empty] | Sleep Mode | 129 | 5 | HIGH | 650 | 45 | Stand / Position 2 | 258 | 14 | Stand / Position 3 | 387 | 24 | Stand / Position 4 | 516 | 34
Deltrian International | DeltriPure 850 |  | 80 | 200 | 850 |  |  |  | H13-H14 | [6 empty] | Sleep Mode | 169 | 5 | HIGH | 850 | 45 | Stand / Position 2 | 338 | 14 | Stand / Position 3 | 507 | 24 | Stand / Position 4 | 676 | 34
Deltrian International | DeltriPure 2200 |  | 210 | 550 | 2200 |  |  |  | H13-H14 | [6 empty] | Sleep Mode | 440 | 5 | HIGH | 2200 | 34.5 | Stand / Position 2 | 880 | 11 | Stand / Position 3 | 1320 | 19 | Stand / Position 4 | 1760 | 26
Deltrian International | DeltriPure 1600 |  | 150 | 390 | 1600 |  |  |  | H13-H14 | [6 empty] | Sleep Mode | 319 | 5 | HIGH | 1600 | 34.5 | Stand / Position 2 | 638 | 11 | Stand / Position 3 | 957 | 19 | Stand / Position 4 | 1276 | 26
Deltrian International | Mia Air Tower |  | 190 | 500 | 2000 |  |  | √ | H13-H14 | [6 empty] | Sleep Mode | 333 | 10 | HIGH | 2000 | 60 | Stand / Position 2 | 666 | 20 | Stand / Position 3 | 999 | 30 | Stand / Position 4 | 1332 | 40 | Stand / Position 5 | 1665 | 50
Deltrian International | DeltriPure 1400 |  | 135 | 350 | 1400 |  |  |  | H13-H14 | [6 empty] | Sleep Mode | 279 | 5 | HIGH | 1400 | 45 | Stand / Position 2 | 558 | 14 | Stand / Position 3 | 837 | 24 | Stand / Position 4 | 1116 | 34
Deltrian International | MIA-AIR STATION TYPE II |  | 90 | 235 | 889 |  |  | √ | H13-H14 | [6 empty] | Sleep Mode | 150 | 10 | High | 889 | 60 | Stand / Position 2 | 300 | 20 | Stand / Position 3 | 450 | 30 | Stand / Position 4 | 600 | 40 | Stand / Position 5 | 750 | 50
Deltrian International | MIA-AIR LAMP |  | 45 | 117 | 449 |  |  |  | H14 | [6 empty] | Sleep Mode | 75 | 10 | High | 449 | 60 | Stand / Position 2 | 150 | 20 | Stand / Position 3 | 225 | 30 | Stand / Position 4 | 300 | 40 | Stand / Position 5 | 375 | 50
Deltrian International | Mia Air Compact |  | 20 | 50 | 200 |  |  |  | H13 | [6 empty] | Sleep Mode | 66 | 20 | High | 200 | 60 | Stand / Position 2 | 132 | 40 | Stand / Position 3 | 200 | 60
Egeda | FC24-AC | [10 empty] | √ | [6 empty] | Standard | 470 | ND
Egeda | FC-3T-BAS |  |  |  |  | √ | [5 empty] | √ | [6 empty] | Standard | 627 | ND
Egeda | FC48-AC |  |  |  |  | √ | [5 empty] | √ | [6 empty] | Standard | 940 | ND
Egeda | DM48-AC |  |  |  |  | √ | [5 empty] | √ | [6 empty] | Standard | 940 | ND
Egeda | IMOD |  |  |  |  | √ | [5 empty] | √ |  |  |  | Minimum | 348 | ND | Standard | 4178 | ND
Egeda | Irib 18 |  |  |  |  | √ | [5 empty] | √ | [6 empty] | Standard | 470 | ND
Egeda | Irib 36 |  |  |  |  | √ | [5 empty] | √ | [6 empty] | Standard | 627 | ND
Engels Group BV | Kaysun KPU-350. 1 luchtreiniger | [6 empty] | √ | H13 | [9 empty] | Maximum | 360 | ND
Europair Benelux | Jonix Steel 1C |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 160 | ND
Europair Benelux | Jonix Steel 2C |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 160 | ND
Europair Benelux | Jonix Steel 4C |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 160 | ND
Europair Benelux | Jonix Steel 2F |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 320 | ND
Europair Benelux | Jonix Steel 4F |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 320 | ND
Europair Benelux | Jonix Mate | √ |  |  |  |  | √ |  | H13 | [5 empty] | √ | Minimum | 500 | ND | Maximum | 3000 | ND
Europair Benelux | Jonix Maximate | √ |  |  |  |  | √ |  | H13 | [5 empty] | √ | Minimum | 1500 | ND | Maximum | 7500 | ND
Europair Benelux | Jonix Inside UTA 2C |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 500 | ND
Europair Benelux | Jonix Inside UTA 4C |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 1000 | ND
Europair Benelux | Jonix Inside UTA 2F |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 2000 | ND
Europair Benelux | Jonix Inside UTA 4F |  |  |  |  | √ | [8 empty] | √ |  |  |  | Standard | 4000 | ND
Europair Benelux | Jonix Cube | √ | [12 empty] | √ |  |  |  | Standard | 40 | ND
Europair Benelux | Jonix up IN |  |  |  |  | √ | [8 empty] | √ | Speed 1 | 35 | ND | Speed 3 | 90 | ND | Speed 2 | 65 | ND | Speed 3 | 90 | ND
Europair Benelux | JONIX DUCT MIC 2C |  |  |  |  | √ | [8 empty] | √ |  |  |  | Maximum | 500 | ND
Europair Benelux | JONIX DUCT MIC 4C |  |  |  |  | √ | [8 empty] | √ |  |  |  | Maximum | 1000 | ND
Europair Benelux | JONIX DUCT MIC 2F |  |  |  |  | √ | [8 empty] | √ |  |  |  | Maximum | 2000 | ND
Europair Benelux | JONIX DUCT MIC 4F |  |  |  |  | √ | [8 empty] | √ |  |  |  | Maximum | 4000 | ND
Europair Benelux | Jonix Minimate | √ |  |  |  |  | √ |  | H13 | [5 empty] | √ | Minimum | 400 | ND | Maximum | 2000 | ND
Excloosiva | LOD'Air | [8 empty] | √ | [8 empty] | Maximum | 45 | ND
Excloosiva | LOD'Air Plus | [8 empty] | √ | [8 empty] | Maximum | 105 | ND
Excloosiva | Bazook'Air | [8 empty] | √ | [8 empty] | Maximum | 360 | ND
Excloosiva | LOD'Air Kill Vid | [8 empty] | √ | [8 empty] | Maximum | 36 | ND
Excloosiva | LOD'Air Plus 2000 | [8 empty] | √ | [8 empty] | Maximum | 180 | ND
Expansion Electronic / Air Quality Concept | Reoclean | [9 empty] | √ |  |  |  |  | Minimum | 100 | ND | Maximum | 500 | ND
Expansion Electronic / Air Quality Concept | Prolife 170 | [9 empty] | √ |  |  |  |  | Minimum | 300 | ND | Maximum | 1200 | ND
Expansion Electronic / Air Quality Concept | Idellium / Sintesys 170 | [9 empty] | √ |  |  |  |  | Minimum | 700 | ND | Maximum | 1700 | ND
Expansion Electronic / Air Quality Concept | Idellium / Sintesys 340 | [9 empty] | √ |  |  |  |  | Minimum | 1400 | ND | Maximum | 3400 | ND
Expansion Electronic / Air Quality Concept | Monolite 330 | [9 empty] | √ |  |  |  |  | Minimum | 1400 | ND | Maximum | 3400 | ND
Expansion Electronic / Air Quality Concept | Monolite 510 | [9 empty] | √ |  |  |  |  | Minimum | 2100 | ND | Maximum | 5100 | ND
Expansion Electronic / Air Quality Concept | CP500 | [9 empty] | √ |  |  |  |  | Minimum | 100 | ND | Maximum | 500 | ND
Expansion Electronic / Air Quality Concept | Caisson avec filtre électorstatique pour CTA sur mesure | [9 empty] | √ |  |  |  |  | Minimum | 500 | ND | Maximum | 36000 | ND
Extreme Air Products BV | EDC 650 UV-C | √ | [7 empty] | √ | [8 empty] | Stand | 500 | 40
Extreme Air Products BV | EAS 1300 UV-C | √ | [7 empty] | √ | [8 empty] | Stand | 750 | 45
Fagron | Fagron Lab UVGI-80 | [8 empty] | √ | [8 empty] | Maximum | 800 | ND
Fellowes Brands | Aeramax Pro AM2 |  | 30 | 75 | 170 |  | √ | √ | H12 | [5 empty] | √ | Stand / Position 1 | 60 | 38 | Stand / Position 5 | 170 | 66 | Stand / Position 2 | 73 | 42 | Stand / Position 3 | 87 | 51 | Stand / Position 4 | 109 | 60 | Stand / Position 5 | 170 | 66
Fellowes Brands | Aeramax Pro AM3 |  | 65 | 162 | 374 |  | √ | √ | H13 | [5 empty] | √ | Stand / Position 1 | 129 | 42 | Stand / Position 5 | 374 | 66 | Stand / Position 2 | 158 | 47 | Stand / Position 3 | 190 | 51 | Stand / Position 4 | 238 | 58 | Stand / Position 5 | 374 | 66
Fellowes Brands | Aeramax Pro AM3 S |  | 65 | 162 | 374 |  | √ | √ | H13 | [5 empty] | √ | Stand / Position 1 | 129 | 42 | Stand / Position 5 | 374 | 66 | Stand / Position 2 | 158 | 47 | Stand / Position 3 | 190 | 51 | Stand / Position 4 | 238 | 58 | Stand / Position 5 | 374 | 66
Fellowes Brands | Aeramax Pro AM3 PC |  | 65 | 162 | 374 |  | √ | √ | H13 | [5 empty] | √ | Stand / Position 1 | 129 | 42 | Stand / Position 5 | 374 | 66 | Stand / Position 2 | 158 | 47 | Stand / Position 3 | 190 | 51 | Stand / Position 4 | 238 | 58 | Stand / Position 5 | 374 | 66
Fellowes Brands | Aeramax Pro AM3 S PC |  | 65 | 162 | 374 |  | √ | √ | H13 | [5 empty] | √ | Stand / Position 1 | 129 | 42 | Stand / Position 5 | 374 | 66 | Stand / Position 2 | 158 | 47 | Stand / Position 3 | 190 | 51 | Stand / Position 4 | 238 | 58 | Stand / Position 5 | 374 | 66
Fellowes Brands | Aeramax Pro AM4 |  | 130 | 325 | 748 |  | √ | √ | H13 | [5 empty] | √ | Stand / Position 1 | 260 | 42 | Stand / Position 5 | 748 | 69 | Stand / Position 2 | 316 | 47 | Stand / Position 3 | 381 | 52 | Stand / Position 4 | 476 | 58 | Stand / Position 5 | 748 | 69
Fellowes Brands | Aeramax Pro AM4S |  | 130 | 325 | 748 |  | √ | √ | H13 | [5 empty] | √ | Stand / Position 1 | 260 | 42 | Stand / Position 5 | 748 | 69 | Stand / Position 2 | 316 | 47 | Stand / Position 3 | 381 | 52 | Stand / Position 4 | 476 | 58 | Stand / Position 5 | 748 | 69
Fellowes Brands | Aeramax Pro AM4 PC |  | 130 | 325 | 748 |  | √ | √ | H13 | [5 empty] | √ | Stand / Position 1 | 260 | 42 | Stand / Position 5 | 748 | 69 | Stand / Position 2 | 316 | 47 | Stand / Position 3 | 381 | 52 | Stand / Position 4 | 476 | 58 | Stand / Position 5 | 748 | 69
Fellowes Brands | Aeramax Pro AM4 S PC |  | 130 | 325 | 748 |  | √ | √ | H13 | [5 empty] | √ | Stand / Position 1 | 260 | 42 | Stand / Position 5 | 748 | 69 | Stand / Position 2 | 316 | 47 | Stand / Position 3 | 381 | 52 | Stand / Position 4 | 476 | 58 | Stand / Position 5 | 748 | 69
First4LED | UVC Desinfecterend Led hybride | [6 empty] | √ |  | √ |  |  | √ | [5 empty] | Maximum | 343 | ND
FlaktGroup | AP BIO 400 | [7 empty] | H14 | [9 empty] | Maximum | 400 | ND
FlaktGroup | AP BIO 500 | [7 empty] | H14 | [9 empty] | Maximum | 500 | ND
FlaktGroup | AP BIO 1000 | [7 empty] | H14 | [9 empty] | Maximum | 1000 | ND
FlaktGroup | AP BIO 2400 | [7 empty] | H14 | [9 empty] | Maximum | 2400 | ND
Genano BV | Genano 350 | [9 empty] | √ | [7 empty] | Maximum | 263 | ND
Genano BV | Genano 420 | [9 empty] | √ | [7 empty] | Maximum | 360 | ND
Genano BV | Genano 5250 | [9 empty] | √ | [7 empty] | Maximum | 451 | ND
Genano BV | Genano ASPRA Lite VFA10103 | [9 empty] | √ | [7 empty] | Maximum | 396 | ND
Genano BV | Genano ASPRA Aura VFA10001 | [9 empty] | √ | [7 empty] | Maximum | 396 | ND
Genano BV | Genano ASPRA Smart VFA10001S | [9 empty] | √ | [7 empty] | Maximum | 396 | ND
Genano BV | Genano ASPRA L VFA11004 | [9 empty] | √ | [7 empty] | Maximum | 2475 | ND
Genano BV | Genano ASPRA L Mobile VFA11005 | [9 empty] | √ | [7 empty] | Maximum | 2475 | ND
Genano BV | Genano ASPRA FLC Mobile VFA-010049 | [9 empty] | √ | [7 empty] | Maximum | 2376 | ND
Genano BV | Genano ASPRA FLC Design VFA-010052 | [9 empty] | √ | [7 empty] | Maximum | 2376 | ND
Genano BV | Genano ASPRA L 5000 VFA10072 | [9 empty] | √ | [7 empty] | Maximum | 4950 | ND
Genano BV | Genano ASPRA L-C 3x3 (9 EF-4 + 9x ACF cassettes) VFA11008-a | [9 empty] | √ | [7 empty] | Maximum | 891 | ND
Genano BV | Genano ASPRA L-C 6x3 (12 EF-4 + 12x ACF cassettes) VFA11008-c | [9 empty] | √ | [7 empty] | Maximum | 1683 | ND
Genano BV | Genano ASPRA L-C Mobile 3x4 (12 EF-4 + 12x ACF cassettes) VFA11009-b | [9 empty] | √ | [7 empty] | Maximum | 1188 | ND
Genano BV | Genano ASPRA PMC - 3 sided outflow VFA10042_b | [9 empty] | √ | [7 empty] | Maximum | 9900 | ND
Genano BV | Genano ASPRA PMC - 4 sided outflow VFA10042_a | [9 empty] | √ | [7 empty] | Maximum | 9900 | ND
Genano BV | Genano ASPRA Agro-V VFA10028 | [9 empty] | √ | [7 empty] | Maximum | 10890 | ND
Genano BV | Genano ASPRA Agro-H VFA10030 | [9 empty] | √ | [7 empty] | Maximum | 10890 | ND
Genano BV | Genano ASPRA Ceiling 1-1 VFA11010 | [9 empty] | √ | [7 empty] | Maximum | 1238 | ND
Genano BV | Genano ASPRA Ceiling 1-2 VFA11011 | [9 empty] | √ | [7 empty] | Maximum | 1782 | ND
Genano BV | Genano ASPRA Ceiling 2-2 VFA11012 | [9 empty] | √ | [7 empty] | Maximum | 1782 | ND
Goveco bv | UVCpectra | [8 empty] | √ | [5 empty] | Minimum | 233 | 48 | Maximum | 340 | 55
Halton Oy | Halton VCR | [7 empty] | H14 | [9 empty] | Maximum | 2700 | ND
Henry Schein NV | Radic8 Hextio |  | Personal | Personal | 30 |  | √ | √ | E11 | √ |  |  | √ |  |  | Sleep Mode | 20 | 40 | Maximum | 30 | 49
Henry Schein NV | Radic8 VK103 |  | 150 | 360 | 608 |  | √ | √ | H14 | √ |  |  | √ |  |  | Fan 1 | 348 | 40 | Fan 3 | 608 | 60
Henry Schein NV | Radic8 VK401 |  | 60 | 144 | 237 |  | √ | √ | E12 | √ |  |  | √ |  |  | Fan 1 | 118 | 46 | Fan 3 | 237 | 54
HPC Group BV | Froumann N100/N100 SDS | [7 empty] | H14 | [9 empty] | Maximum | 1000 | ND
HPC Group BV | Froumann N80 | [7 empty] | H14 | [9 empty] | Maximum | 300 | ND
HPC Group BV | Froumann N90/N90SDS | [7 empty] | H14 | [9 empty] | Maximum | 600 | ND
Huppertz | SanificaAria 30 | √ | [7 empty] | √ | [8 empty] | Speed: 1 = max | 30 | 40
Huppertz | SanificaAria 200 |  |  |  |  | √ |  |  |  | √ | [5 empty] | Speed: 1 | 81 | 38 | Speed: 3 | 200 | 59 | Speed: 2 | 130 | 47
Huppertz | Depuro Pro 150 | √ |  |  |  |  | √ |  | H14 | [6 empty] | Minimum | 81 | 18 | Maximum | 300 | 61.7
Huppertz | Depuro Pro 300 | √ |  |  |  |  | √ |  | H14 | [6 empty] | Minimum | 81 | 22 | Maximum | 600 | 67.2
Huppertz | Depuro Pro EVO 150 | √ |  |  |  |  | √ |  | H14 | √ |  |  | √ |  |  | Minimum | 81 | 18 | Maximum | 300 | 61.7
Huppertz | Depuro Pro EVO 300 | √ |  |  |  |  | √ |  | H14 | √ |  |  | √ |  |  | Minimum | 81 | 22 | Maximum | 600 | 67.2
Huppertz | Depuro Plus 230 | √ |  |  |  |  | √ |  | H14 | [6 empty] | Minimum | 81 | 18 | Maximum | 460 | 61.7
Huppertz | Depuro Sky |  |  |  |  | √ | √ |  | H14 | [6 empty] | Minimum | 35 | 19.7 | Maximum | 1800 | 65
Huppertz | Depuro Sky Easy |  |  |  |  | √ | √ |  | H14 | [6 empty] | Minimum | 35 | 19.7 | Maximum | 1200 | 65
Huppertz | Depuro Plus 430 | √ |  |  |  |  | √ |  | H14 | [6 empty] | Minimum | 81 | 22 | Maximum | 865 | 67.2
Huppertz | Depuro Plus Evo 230 | √ |  |  |  |  | √ |  | H14 | √ |  |  | √ |  |  | Minimum | 81 | 18 | Maximum | 460 | 41.2
Huppertz | Depuro Plus Evo 430 | √ |  |  |  |  | √ |  | H14 | √ |  |  | √ |  |  | Minimum | 81 | 22 | Maximum | 860 | 46.7
Inatech | Rhode - Room II 100 | [8 empty] | √ | [8 empty] | Maximum | 62 | ND
Infralia | Aerodynamische UVC Lucht | √ | [7 empty] | √ |  |  | √ | [5 empty] | Maximum | 85 | 25
Infralia | Aerodynamische UVC Lucht Sterilisator Guard Pro |  |  |  |  | √ |  |  |  | √ |  |  | √ | [5 empty] | Maximum | 204 | 50
Infralia | Aerodynamische UVC Lucht Sterilisator Tornado | √ | [7 empty] | √ |  |  | √ | [5 empty] | Maximum | 500 | 70
JVD | Shield | [8 empty] | √ |  |  | √ |  |  | Minimum | 110 | ND | Maximum | 420 | ND
Klima Oprema | SCU-UV BxH (mm) 325x630 |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 1500 | ND | Maximum | 2300 | ND
Klima Oprema | SCU-UV BxH (mm) x630 |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 2300 | ND | Maximum | 4000 | ND
Klima Oprema | SCU-UV BxH (mm) 782x630 |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 4000 | ND | Maximum | 5500 | ND
Klima Oprema | SCU-UV BxH (mm) 900x300 |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 3200 | ND | Maximum | 4900 | ND
Klima Oprema | SCU-UV BxH (mm) 900x600 |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 6200 | ND | Maximum | 9800 | ND
Klima Oprema | SCU-UV BxH (mm) 900x900 |  |  |  |  | √ |  |  |  | √ | [5 empty] | Minimum | 9000 | ND | Maximum | 14600 | ND
LD Medical Devices Srl | AirSteril AS10 |  | 15 | 37.5 | 225 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 225 | ND
LD Medical Devices Srl | AirSteril AS10X |  | 15 | 37.5 | 225 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 225 | ND
LD Medical Devices Srl | AirSteril AS20 |  | 25 | 62.5 | 375 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 375 | ND
LD Medical Devices Srl | AirSteril AS20X |  | 25 | 62.5 | 375 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 375 | ND
LD Medical Devices Srl | AirSteril MF20 |  | 30 | 75 | 450 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 450 | 32
LD Medical Devices Srl | AirSteril MF40 |  | 60 | 150 | 900 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 900 | 32
LD Medical Devices Srl | AirSteril MF60 |  | 80 | 200 | 1200 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 1200 | 32
LD Medical Devices Srl | AirSteril MF80 |  | 100 | 250 | 1500 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 1500 | 32
LD Medical Devices Srl | AirSteril MP100 |  | 280 | 1120 | 3750 |  |  |  |  | √ |  | √ | [6 empty] | Maximum | 3750 | 32
LD Medical Devices Srl | AirSteril MT75 |  | 280 | 1120 | 3750 | √ |  |  |  | √ |  | √ | [6 empty] | Maximum | 3750 | ND
LD Medical Devices Srl | AirSteril WT10 |  | 10 | 25 | 150 | √ |  |  |  | √ |  | √ | [6 empty] | Maximum | 150 | ND
LD Medical Devices Srl | AirSteril WT20 |  | 20 | 50 | 300 | √ |  |  |  | √ |  | √ | [6 empty] | Maximum | 300 | ND
LD Medical Devices Srl | AirSteril WT30 |  | 30 | 75 | 450 | √ |  |  |  | √ |  | √ | [6 empty] | Maximum | 450 | ND
LD Medical Devices Srl | AirSteril WC10 |  | 10 | 25 | 200 | √ |  |  |  | √ |  | √ | [6 empty] | Maximum | 200 | 32
LD Medical Devices Srl | AirSteril WC20 |  | 20 | 50 | 350 | √ |  |  |  | √ |  | √ | [6 empty] | Maximum | 350 | 32
LD Medical Devices Srl | AirSteril WC30 |  | 30 | 75 | 500 | √ |  |  |  | √ |  | √ | [6 empty] | Maximum | 500 | 32
LD Medical Devices Srl | AirSteril WC30X |  | 30 | 75 | 500 | √ |  |  |  | √ |  | √ |  |  |  | Minimum | 90 | ND | Maximum | 500 | 32
LD Medical Devices Srl | AirSteril WC40X |  | 40 | 100 | 600 | √ |  |  |  | √ |  | √ |  |  |  | Minimum | 120 | ND | Maximum | 600 | 32
Lena Lighting | Sterilon HEPA | √ | [5 empty] | optie/option | H13 | √ | [5 empty] | 25% | 70 | 38 | 100% | 200 | 51.5 | 50% | 90 | 44 | 75% | 110 | 48
Lena Lighting | Sterilon FLOW PREMIUM 72W | √ |  |  |  |  | √ |  |  | √ | [5 empty] | Eco mode | 110 | 38 | Standard mode | 160 | 42
Mann + Hummel | OurAir SQ2500 | [5 empty] | √ | √ | H14 | [6 empty] | Sleep Modus | 250 | 35 | Anti-Haze Mode | 2500 | 49
Mann + Hummel | Frecious Care Medical H14 | √ |  |  |  |  | √ | √ | H14 | [9 empty] | Anti-Haze Mode | 230 | 69
Mann + Hummel | OurAir SQ500 | √ |  |  |  |  | √ | √ | H14 | [9 empty] | Anti-Haze Mode | 200 | 43
Mediccleanair | MedicCleanAir COMBI 1.5 | [7 empty] | H14 | [9 empty] | Maximum | 800 | ND
Mediccleanair | MedicCleanAir COMBI 2.2 | [7 empty] | H14 | [9 empty] | Maximum | 930 | ND
Medtradex bv | Radic 8 VK102 |  | 165 | 396 | 660 |  | √ | √ | E12 | √ |  |  | √ |  |  | Fan 1 | 348 | 40 | Fan 3 | 660 | 49
Medtradex bv | Radic8 VK103 |  | 150 | 360 | 608 |  | √ | √ | H14 | √ |  |  | √ |  |  | Fan 1 | 348 | 40 | Fan 3 | 608 | 60
Medtradex bv | Radic 8 Hextio |  | Personal | Personal | 30 |  | √ | √ | E11 | √ |  |  | √ |  |  | Sleep Mode | 20 | 40 | Maximum | 30 | 49
Medtradex bv | Radic8 VK401 |  | 60 | 144 | 237 |  | √ | √ | E12 | √ |  |  | √ |  |  | Fan 1 | 118 | 46 | Fan 3 | 237 | 54
Miele Professional | Miele Aircontrol PAC 1080 | [7 empty] | H14 | [9 empty] | Maximum | 1300 | ND
Miele Professional | Miele Aircontrol PAC 1045 | [7 empty] | H14 | [9 empty] | Maximum | 700 | ND
Miele Professional | Miele Aircontrol PAC 1200 | [7 empty] | H14 | [9 empty] | Maximum | 3000 | ND
Mitsubish Eletric | MA-E85K-C | [6 empty] | √ | H13 | √ | [8 empty] | Maximum | 508 | ND
Mitsubish Eletric | MA-E100R-E | [6 empty] | √ | H13 | √ | [8 empty] | Maximum | 612 | ND
Noman Technics | Breezer | √ |  |  |  |  | √ |  |  | √ | [8 empty] | Slechts 1 stand | 105 | 35
Octar Technologies | Big Smart K15 | √ |  |  |  |  | √ | √ | H13 | [6 empty] | Low | 300 | 25 | High | 800 | 66 | Medium | 500 | 40
Octar Technologies | Evolution K06 | √ |  |  |  |  | √ | √ | H13 | √ | [5 empty] | Low | 80 | 17 | High | 320 | 55 | Medium | 200 | 29
Oxyclean | UV-c PRO 15 | [6 empty] | √ | H13 | √ | [8 empty] | Maximum | 360 | ND
Oxyclean | UV-c PRO 18 TURBO | [6 empty] | √ | H13 | √ | [8 empty] | Maximum | 650 | ND
Oxyclean | UV-c PRO 12 | √ |  |  |  |  | √ | √ | H13-H14 | √ | [5 empty] | Speed: 1 | 155 | 21 | Speed: 4 | 600 | 68
PlasmaMade B.V. | Aircleaner AAC37170 V2 | [6 empty] | √ | H13 |  |  |  |  | √ | √ | I | 200 | 33 | II | 400 | 37
Psimco BVBV | Eolis Air Manager 600S Nateosante | √ |  |  |  |  | √ | √ | H13 | √ |  |  | √ |  |  | Stand / Position 1 | 80 | 27 | Stand / Position 5 | 350 | 58 | Stand / Position 2 | 145 | 35 | Stand / Position 3 | 215 | 46 | Stand / Position 4 | 280 | 55 | Stand / Position 5 | 350 | 58
Psimco BVBV | Eolis Air Manager 600 Nateosante | √ |  |  |  |  | √ | √ | H13 | √ |  |  | √ |  |  | Stand / Position 1 | 80 | 27 | Stand / Position 5 | 350 | 58 | Stand / Position 2 | 145 | 35 | Stand / Position 3 | 215 | 46 | Stand / Position 4 | 280 | 55 | Stand / Position 5 | 350 | 58
Psimco BVBV | Eolis Air Manager 1200 Nateosante | √ |  |  |  |  | √ | √ | H13 | √ |  |  | √ |  |  | Stand / Position 1 | 120 | 29 | Stand / Position 5 | 550 | 57 | Stand / Position 2 | 230 | 36 | Stand / Position 3 | 335 | 43 | Stand / Position 4 | 440 | 52 | Stand / Position 5 | 550 | 57
Psimco BVBV | Eolis Air Manager 1200S Nateosante | √ |  |  |  |  | √ | √ | H13 | √ |  |  | √ |  |  | Stand / Position 1 | 120 | 29 | Stand / Position 5 | 550 | 57 | Stand / Position 2 | 230 | 36 | Stand / Position 3 | 335 | 43 | Stand / Position 4 | 440 | 52 | Stand / Position 5 | 550 | 57
Qleanair Scandinavia | FS30 HEPA 14 | √ |  |  |  |  | √ |  | H14 | [6 empty] | Level 0 Standby | 80 | 18 | Level 7 | 800 | 45 | Level 1 | 140 | 20 | Level 2 | 260 | 26 | Level 3 | 350 | 32 | Level 4 | 450 | 36 | Level 5 | 530 | 40 | Level 6 | 660 | 42 | Level 7 | 800 | 45
Qleanair Scandinavia | FS70 HEPA 14 | √ |  |  |  |  | √ |  | H14 | [6 empty] | 1.000 m3 | 1000 | 31 | 2.000 m3 | 2000 | 45
R Conseils | Gran 900. Woods | [11 empty] | √ | [5 empty] | Maximum | 900 | ND
R Conseils | Tall 155 Woods | [11 empty] | √ | [5 empty] | Maximum | 150 | ND
R Conseils | AL310 Woods | [11 empty] | √ | [5 empty] | Maximum | 300 | ND
Radic8 | Radic8 VK102 |  | 165 | 396 | 660 |  | √ | √ | E12 | √ |  |  | √ |  |  | Fan 1 | 348 | 40 | Fan 3 | 660 | 49
Radic8 | Radic8 VK103 |  | 150 | 360 | 608 |  | √ | √ | H14 | √ |  |  | √ |  |  | Fan 1 | 348 | 40 | Fan 3 | 608 | 60
Radic8 | Radic8 Hextio |  | Personal | Personal | 30 |  | √ | √ | E11 | √ |  |  | √ |  |  | Sleep Mode | 20 | 40 | Maximum | 30 | 49
Radic8 | Radic8 VK401 |  | 60 | 144 | 237 |  | √ | √ | E12 | √ |  |  | √ |  |  | Fan 1 | 118 | 46 | Fan 3 | 237 | 54
Renato Termale | Intellipure Compact 10600-9 | [9 empty] | √ |  |  |  |  | Low | 30 | ND | Turbo | 145 | ND | Medium | 49 | ND | High | 79 | ND
Rensair | Rensair | [7 empty] | H13 | √ | [8 empty] | Maximum | 560 | ND
Rentokil nv | InspireAir 72 | √ |  |  |  |  | √ | √ | H13 | [9 empty] | Turbo Mode | 615 | ND
Rodalight | AURA AIR / PURIFICATEUR D'AIR | √ |  |  |  |  | √ | √ | H13 | √ |  | √ | [6 empty] | Maximum | 203 | ND
Rucon Ventilatoren NV | Pura H14 | [5 empty] | √ |  | H14 | [9 empty] | Maximum | 1600 | ND
S&Co BV | Led-Hybride 3in 1 paneel |  |  |  |  | √ | √ | √ |  | √ |  |  | √ | [5 empty] | Maximum | 343 | 40
SAS BCS | PRO-AY-700 | √ |  |  |  |  | √ | √ | H13 |  |  | √ |  |  |  | Vitesse 1 | 120 | 25 | Smart mode vitesse 4 | 700 | 70 | Vitesse 2 | 250 | 35 | Vitesse 3 | 400 | 58 | Vitesse 4 | 700 | 70
Signify (Philips UV-C) | SM355B 4xTUV PLS 9W HFM (Upper Air Ceiling) |  | 50 | 150 | 762 |  |  |  |  | √ | [8 empty] | Standard | N/A | ND
Signify (Philips UV-C) | SM355P 4x TUV PLS 9W HFM SM4 (Upper Air Pendant) |  | 50 | 150 | 762 |  |  |  |  | √ | [8 empty] | Standard | N/A | ND
Signify (Philips UV-C) | SM355C 4x TUV PLS 9W HFM SMB (Upper Air Surface Mounted) |  | 50 | 150 | 762 |  |  |  |  | √ | [8 empty] | Standard | N/A | ND
Signify (Philips UV-C) | UVCA200 EU 4xPL-L 18W/TUV HFP (Mobile Active Air 3 settings) | √ | 50 | 150 |  |  |  | √ |  | √ | [5 empty] | Low | 85 | 30 | High | 477 | 66 | Medium | 307 | 51
Signify (Philips UV-C) | SM310C 2xTUV PLL 60W HFS (Active Air) | √ | 50 | 150 | [5 empty] | √ | [8 empty] | Standard | 120 | 50
Signify (Philips UV-C) | WL345W 1xTUV T5 25W HFS (Upper Air Wallmount) |  | 50 | 150 | 1950 |  |  |  |  | √ | [8 empty] | Standard | N/A | ND
Signify (Philips UV-C) | WL346W 1xTUV T5 25W HFS (Upper Air Wallmount High Power) |  | 50 | 150 | 2730 |  |  |  |  | √ | [8 empty] | Standard | N/A | ND
SME SPRL | Freshing Protector | √ |  |  |  |  | √ | √ | H13 |  | √ | √ |  |  | √ | Sleep Mode | 276 | < 20 | Level IIIIII | 737 | 43 | Level II | 368 | 30 | Level IIII | 552 | 36 | Level IIIIII | 737 | 43
Swegon Operation | Custos 06 | [5 empty] | √ |  | H14 | [6 empty] | Minimum | 200 | 25 | Maximum | 1400 | 45.1
Swegon Operation | Custos 08 | [5 empty] | √ |  | H14 | [6 empty] | Minimum | 200 | 25 | Maximum | 1600 | 43
Tecno-Gaz SPA | Sterilair Pro | [8 empty] | √ | [8 empty] | Maximum | 120 | ND
Thermad-Brink | Eliturbo UV light |  |  |  |  | √ |  |  |  | √ | [8 empty] | Maximum | 100 | 11.4
Trane Belgium | AirSanitizer - VDI6022 (Medium) | [5 empty] | √ |  | H13 | [9 empty] | Maximum | 1500 | ND
Trane Belgium | AirSanitazer - VDI6022 (Small) | [5 empty] | √ |  | H13 | [9 empty] | Maximum | 1000 | ND
Trane Belgium | UVC Sterilizer | [8 empty] | √ | [5 empty] | Minimum | 1000 | ND | Maximum | 25000 | ND
Trotec GmbH | TAC M |  | 100 | 250 | 1800 |  | √ |  | H14 | [6 empty] | Silent Mode | 650 | 33 | Maximum | 1800 | 64
Trotec GmbH | TAC V+ |  | 100 | 250 | 1800 |  | √ |  | H14 | [6 empty] | Silent Mode | 650 | 33 | Maximum | 1800 | 64
Trox Belgium nv | Trox Air Purifier-L |  |  |  |  | √ | √ |  | H13 | [6 empty] | Minimum | 400 | 24 | Maximum | 1600 | 53 | Stand / Position 2 | 600 | 32 | Stand / Position 3 | 800 | 37 | Stand / Position 4 | 1000 | 41 | Stand / Position 5 | 1200 | 45 | Stand / Position 6 | 1400 | 50
Trox Belgium nv | Trox Air Purifier-M |  |  |  |  | √ | √ |  | H13 | [6 empty] | Minimum | 400 | 30 | Maximum | 1200 | 52 | Stand / Position 2 | 500 | 34 | Stand / Position 3 | 600 | 37 | Stand / Position 4 | 700 | 40 | Stand / Position 5 | 800 | 43 | Stand / Position 6 | 1000 | 48
Ultrasun International BV | ViroPower | √ | [6 empty] | H13 | √ | [5 empty] | Stand / Position 1 | 180 | 39 | Stand / Position 2 | 300 | 49
UV MasterCare | UVM AirCom Pro H | √ |  |  |  | √ |  |  |  | √ | [8 empty] | On | 280 | 46
UV Medico | UV222 |  |  |  |  | √ |  |  |  | √ | [8 empty] | On | 200 | 8
Uvrer Anemo | Siluxe 50 | √ |  |  |  |  | √ | √ |  | √ |  |  | √ |  |  | Siluxe 50 | 42 | 33.2 | Stand / Position 2 | 42 | 39.5 | Stand / Position 2 | 42 | 39.5
Uvrer Anemo | Siluxe 100 | √ |  |  |  |  | √ | √ |  | √ |  |  | √ |  |  | Siluxe 100 | 53 | 38.7 | Stand / Position 2 | 80 | 44.2 | Stand / Position 2 | 80 | 44.2
Viessmann | Vitovent 200-P | [5 empty] | √ |  | H14 | [6 empty] | Minimum | 100 | <25 | Maximum | 800 | 40
Walsberghe NV | MedicCleanAirPro 130 | [7 empty] | H14 | [6 empty] | Minimum | 70 | ND | Maximum | 450 | ND
Walsberghe NV | MedicCleanAirPro 300 | [7 empty] | H14 | [9 empty] | Maximum | 900 | ND
Wolf Energiesystemen BV | Wolf Airpurifier |  |  |  |  | √ | √ | √ | H13-H14 | [6 empty] | Minimum | 400 | 28 | Boost | 1200 | 42
Zehnder Group Belgium nv | Virus Shield Zehnder CleanAir 2 | √ |  |  |  | √ | √ |  | H14 | [6 empty] | Minimum | 120 | 40 | Maximum | 1055 | 57 | Stand / Position 2 | 215 | 42 | Stand / Position 3 | 300 | 44 | Stand / Position 4 | 369 | 46 | Stand / Position 5 | 427 | 47 | Stand / Position 6 | 495 | 49 | Stand / Position 7 | 553 | 51 | Stand / Position 8 | 621 | 52 | Stand / Position 9 | 688 | 54
Zehnder Group Belgium nv | Virus Shield Zehnder CleanAir 3 | √ |  |  |  | √ | √ |  | H14 | [6 empty] | Minimum | 363 | 41 | Maximum | 1538 | 59 | Stand / Position 2 | 392 | 42 | Stand / Position 3 | 449 | 43 | Stand / Position 4 | 491 | 44 | Stand / Position 5 | 534 | 45 | Stand / Position 6 | 605 | 46 | Stand / Position 7 | 654 | 47 | Stand / Position 8 | 722 | 48 | Stand / Position 9 | 769 | 49
Zepter Belgium | Zepter Therapy Air Ion PWC-570 | [7 empty] | H13 |  | √ | [7 empty] | Maximum | 328 | ND